Tier 3
Data Centers
[Speaker Notes: Click to add Notes]

---
Data Centers
A data center is a building, a dedicated place in a building or a group of buildings used to house computer systems and associated components such as telecommunication and storage systems.
[Speaker Notes: Data Center: Building/ Dedicated Space within a building/ Group of buildings Used to house computer systems and associated components, such as telecommunications and storage systems they store, manage and process large amounts of data and applications for organizations. They support various IT operations with data storage, cloud computing and running business applications. A Modern data center has the following REQUIREMENTS: Performance Energy efficiency Security]

---
Data Centers
- House computer systems and associated peripherals.
- Store, manage and process large amounts of data for organizations.
- Support various IT operations with data storage, cloud computing and business applications.
[Speaker Notes: Data Center: Building/ Dedicated Space within a building/ Group of buildings Used to house computer systems and associated components, such as telecommunications and storage systems they store, manage and process large amounts of data and applications for organizations. They support various IT operations with data storage, cloud computing and running business applications. A Modern data center has the following REQUIREMENTS: Performance Energy efficiency Security]

---
Tiers of Data Centres
Data Centres are classified in 4 tiers based on the following parameters:
  - Uptime Guarantees
  - Redundancy Levels
  - States of cooling and power infrastructure
  - Ability to handle concurrent maintainability
  - Service Cost
  - Security Level
  - Character neutrality

---
Tiers of Data Centres
Tier I
Single path for power and cooling
No backup components
99.671%
N
Tier II
Single path for power and cooling
Some backup components
99.741%
Partial N+1
Tier III
Multiple paths for power and cooling
Concurrent Maintainability
99.982%
Full N+1
Tier IV
Completely Fault Tolerant
Redundancy for every component
99.995%
2N / 2N+1
[Speaker Notes: Partial N+1: It means that not all entities may have a backup. e.g. The power supply may have a backup . The servers may not and vice versa Full N+1: It means that all entities have a backup. e.g. The power supply and the Servers both have a backup]

---
Tier III Data Centers
- Tier III Data Centers have Multiple paths for power and cooling.
- They have a backup for every component, though not necessarily isolated.
- They have an maximum downtime of 1.6 Hours per year. (99.982% uptime guarantee)

---
Tier III Data Centers
- Must have a 72 hour outage protection (3 days of independent power not connected to any outside source).
- They support maintainablity without taking the system offline.

---
Multiple Distribution Paths
- More than one path for power and cooling; only one needs to be active at a time.
- Acts as a backup in case one of the paths fail.

---
N+1 Redundancy
- Each entity (e.g. power, cooling) must have atleast one backup component.
- Let’s say there are 4 servers in the configuration, then there must be 1 server which will take over when one of the working servers fails or is under maintenance.

---
Uptime and Reliability Standards
Tier III DC’s must commit to 99.982% of Uptime, which is equivalent to 1.6 hours of downtime per year.

---
Outage Protection
- Tier III Data Centers must have 3 days of outage protection, which means in case of a local power cut, the DC must be able to self-sustain for 72 hours.
- This can be achieved by battery banks, generators and UPS systems.

---
Concurrent Maintainability
- Developers / Engineers should be able to work on the system without taking it offline.
- The redundant system (backup) handles the traffic while the maintainance is going on.

---
Network Infrastructure
- Data Centres have multiple ISP connections, redundant network switches, routers and diverse fiber entry points for high connectivity and uptime.
- This ensures seamless connectivity with minimal latency.

---
Benefits of Tier III Data Centers
- High reliability with minimized downtime.
- Scalability to support future IT needs.
- Balance between performance and costs:
  - More resilient than Tier I, II
  - More affordable than Tier IV

---
Tier III Certification Process
- Data center tier certifications are overseen by the Uptime Institute.
- The certification process involves sumbitting site plans and undergoing an on-site inspection to verify that the data center meets the required standards.

---
Tier III Certification Process
- These standards encompass various aspects of the data center’s design, construction and operational protocols.
- The purpose is to ensure that the data center meets the criteria for its designated tier according to data center tier standards.

---
Summary
- Data Centers are dedicated spaces to store, manage and process data for organizations.
- Data Centres are divided into 4 tiers based primarily on Downtime allowed and Cost incurred.
- Tier 3 Data Centers
  - Have multiple paths for power and cooling
  - Have full N+1 redundancy
  - Can be maintained without taking the system offline
  - Allow no more than 1.6 hours of downtime annually

---
Sources
- stock.adobe.com (cover page art)
- https://uptimeinstitute.com/tiers
- https://phoenixnap.com/blog/data-center-tiers-classification
- https://encoradvisors.com/tier-3-data-center/

---
Sources
https://www.maysteel.com/blog/types-of-data-centers-how-do-you-choose-the-right-data-center